## Results table
ES-CHEM-GEN-S-06 | Sample stability spreadsheet
Version 5
Table 1 | Investigation details | [11 empty] | Table 2.
Method Number | ES-TORG-P-216 |  |  |  | No. Days Elapsed since Day Zero*
Analyst | Redacted | Date (Day Zero) |  | 2017-10-02 | 0 | [7 empty] | Method | Accepted
Sample / Extract | Extract | Test 1 Date |  | 2017-10-04 | 2 | [7 empty] | RSD (%) | Bias (%) | number of samples
Matrix | Marine Sediment | Test 2 Date |  | 2017-10-09 | 7 | [7 empty] | 12.5 | 25 | 4 | 3
Other Matrices Represented by Above Matrix | Standards | Test 3 Date |  | 2017-10-26 | 24 | [9 empty] | formula 1 | formula 3
Test 4 Date
Target Stability Period (Days) | 21 | Test 5 Date
Number of Investigation Sets** | 4 | Test 6 Date | [9 empty] | From p114 of NS30 using formula a(1) n=13/D² the above calculates the number of replicate determinations required based on the RSD and BIAS targets for a test (worst case scenario) assuming that the between batch variability is small compared to the instability of interest.
Spiking used (Y/N) | Y
Spiking level | 20ng/L | [10 empty] | From p114 of NS30 using formula a(3) n=SQRT((26*RSD²)/BIAS²) the above calculates the number of replicate determinations required based on the RSD and BIAS targets for a test. This second formula assumes that the blank corrected measurements between the two batches being compared are negligible and can sometimes under estimate the number of replicates required to be correctly judge if the observed change is due to stability or poor precision achieved by the test.
Spike Reporing Units | ng/L
** includes day zero
*For samples the 'Days elapsed' is the number of days the sample has been held in storage prior to extraction. | [11 empty] | Enter desired RSD and degradation targets into the green fields and the number of replicates for stability testing will be shown.
*For extracts the 'Days elapsed' is the number of days after extraction.
[16 empty] | Number of data sets | 4
[16 empty] | Σ Test days | 33
[16 empty] | (Σ)2 Test days | 1089
Table 3 | [15 empty] | Σ (Test days)2 | 629
Component Name |  | Day 0 | Period 1 |  | Period 2 |  | Period 3 |  | Period 4 |  | Period 5 |  | Period 6 |  | Comments | Σ Average results | (Σ)2 Average results | Σ days x results | Gradient | Intercept | MHT | Component Name
| Spiking level | 0 | 2 | Bias % | 7 | Bias % | 24 | Bias % | 0 | Bias % | 0 | Bias % | 0 | Bias % | [6 empty] | (Days)
Emamectin B. | 20 | 14.6433 | 12.3596 | -15.5956 | 17.4157 | 18.9331 | 13.6056 | -7.0866 | 0 | -100 | 0 | -100 | 0 | -100 |  | 58.0241 | 3366.8012 | 473.1629 | -0.015519 | 14.6341 | 235.7478 | Emamectin B.
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
Table 4
Final Stability Assessment
[14 empty] | Method | ES-TORG-P-216
[14 empty] | Sample / Extract | Extract
[14 empty] | Matrix | Marine Sediment
[14 empty] | Matrices Covered | Standards
[14 empty] | Most Unstable Component | Emamectin Benzoate
[14 empty] | Maximum MHT (Days) | 24
[11 empty] | Test completed by: |  |  | Name: | Redacted |  | Signed: |  |  |  | Date: | 2017-10-27
[11 empty] | Approved By: |  |  | Name: | Redacted |  | Signed: |  |  |  | Date: | 2017-10-27
[11 empty] | Procedure Update required? |  |  |  | Y | If "Y" Date DCR raised |  |  |  |  | Date | 2017-10-27
[11 empty] | ES-CHEM-P-102 update required? |  |  |  | NR | If "Y" Date DCR raised |  |  |  |  | Date | NR
[11 empty] | NEMS PTT/ ATT update required? |  |  |  | Y | If "Y" Date of NEMS update |  |  |  |  | Date | 2017-10-27

## Day 0
Day 0
Replicate
Determinand | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Average
Emamectin B. | 19.763 | 16.345 | 13.817 | 9.796 | 13.268 | 15.534 | 13.98 | 14.6433
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0

## Period 1
Period 1
Replicate
Determinand | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Average
Emamectin B. | 18.216 | 12.486 | 11.894 | 7.26 | 11.119 | 11.9 | 13.642 | 12.3596
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0

## Period 2
Period 2
Replicate
Determinand | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Average
Emamectin B. | 24.942 | 16.627 | 18.665 | 11.302 | 16.86 | 17.111 | 16.403 | 17.4157
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0

## Period 3
Period 3
Replicate
Determinand | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Average
Emamectin B. | 17.238 | 16.41 | 14.229 | 10.572 | 12.248 | 12.036 | 12.506 | 13.6056
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0

## Period 4
Period 4
Replicate
Determinand | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Average
Emamectin B. | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0

## Period 5
Period 5
Replicate
Determinand | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Average
Emamectin B. | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0

## Period 6
Period 6
Replicate
Determinand | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Average
Emamectin B. | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0